NuFIRM Tips for use:

-            Make sure the client is free from electronic or metal items and jewelry etc.

-            Work in quadrants on the patient’s body to ensure adequate treatment provided to the treatment area equally

-            When using mode SLIM A ensure area is free from excess hair (shaven/waxed)

-            For SLIM A, if you keep most settings at that recommended parameters per manual, then the RF intensity can be a little higher (can vary patient to patient so be mindful)

-            For vacuum intensity, use caution with clients who have a higher BMI

-            For vacuum intensity and rotation angle, a client with a lot of skin laxity (loose skin) will feel it more and be more sensitive in those areas (be mindful)

-            Quantum Focus head starts to heat up around min 6 or 7

-            Quantum Focus head temperature parameters are most attainable between 40-41 degrees

-            When using the EMS/RF fingers, the texture of the ultrasound gel will affect the heat, thus you may have to increase the intensity.